## Slide 1: 定例
熊谷 渉
横河電機株式会社 マーケティング本部 イノベーションセンター
プロジェクトデザイン部 オペレーショナルエクセレンスGr.
2023年6月20日
NAWI

## Slide 2: 概要
暫定モデルで最適化シミュレーションを実行し、効果試算する。
Gitでモジュール共有し、各自が更新できるようにする。
今週金曜までにまとめ、XRAI・SAO-UFなどとのI/Fの互換性の確認など。
個人目的
今週進捗
来週目標
Task1のための最適化モデルを構築し、効果試算を実施する。
Task2を見据えた最適化システム構成案を検討する。
3Q Reportを執筆・統合し、コメントした。
RO最適化モデル（LVMWD,OCWD）のフロー図を作成した。

## Slide 3: Figure 1.2 (a): Flow Chart for RO Optimization (OCWD), RO Total
1. 最適化シミュレーションモデル
ID000
ID001
ID002
cost
Feed EC
Feed TOC
Permeate TOC Prediction Model
Permeate TOC
RO Feed
ID004
S1 Feed Press
RO Total
ID4000
ID005
S1 Feed Flow
ID003
Feed pH
Sulfuric Acid
Inhibitor
RO Stage1
S2 Feed Press
RO Stage2
Feed Temperature
ID100
ID101
ID200
cost

## Slide 4: Figure 1.2 (b): Flow Chart for RO Optimization (OCWD), Each Stage
1. 最適化シミュレーションモデル
S1_Perm_EC
S1 Permeate EC
RO Stage1
RO Stage2
RO Stage3
S2 Feed EC
ID1000
S2_Feed_EC
ID2000
S2_Perm_EC
ID2001
S3_Perm_EC
ID3001
ID000
ID001
ID002
cost
Feed EC
Feed TOC
RO Feed
ID004
ID005
ID003
Feed pH
Sulfuric Acid
Inhibitor
Feed Temperature
cost
S1 Feed Press
ID1000
S1 Feed Flow
S1 Perm Flow
S2 Permeate EC
ID100
ID101
ID102
S2 Feed Press
S2 Feed Flow
S2 Perm Flow
S3 Feed Flow
S3_Feed_EC
S3 Permeate EC
ID200
ID201
ID202
ID2001
S3 Feed EC
ID3000
S2 Perm EC
S1 Perm EC
ID300

## Slide 5: Figure 2.1 (a): Flow Chart for RO Optimization (LVMWD), RO Total
1. 最適化シミュレーションモデル
UF Filtrate Total Chlorine
ID000
ID001
ID002
cost
Feed EC
Feed TOC
Permeate TOC Prediction Model
Permeate TOC
RO Feed
ID004
S1 Feed Press
RO Total
ID4000
S1 Feed Flow
ID003
Feed pH
RO Stage1
Feed Temperature
ID100
ID101

## Slide 6: Figure 2.2 (b): Flow Chart for RO Optimization (LVMWD), Each Stage
1. 最適化シミュレーションモデル
S1_Perm_EC
S1 Permeate EC
RO Stage1
RO Stage2
RO Stage3
S2 Feed EC
ID1000
S2_Feed_EC
ID2000
S2_Perm_EC
ID2001
S3_Perm_EC
ID3001
RO Feed
S1 Feed Press
ID1000
S1 Feed Flow
S1 Perm Flow
S2 Permeate EC
ID100
ID101
ID102
S2 Feed Flow
S2 Perm Flow
S3 Feed Press
S3_Feed_EC
S3 Permeate EC
ID200
ID201
ID2001
S3 Feed EC
ID3000
S2 Perm EC
S1 Perm EC
UF Filtrate Total Chlorine
ID000
ID001
ID002
cost
Feed EC
Feed TOC
ID004
ID003
Feed pH
Feed Temperature
ID300
S3 Feed Flow
ID301

## Slide 7: シミュレーション条件の検討
1. 最適化シミュレーションモデル
評価期間の選定
  正常期間のある1か月間
効果試算の方法
  1か月間を評価期間とし、最初1週間を最適化期間とし、それを1週間ずつずらす

## Slide 8: モジュール管理
2. 構成
予測モデルを検討する度に変わる
バージョン管理システム（git）で管理する。
pkg
main.py
最適化モジュール関連
最適化問題関連
model
params
目的関数・制約関数定義部
import_model.py
sub_model_fouling
sub_model_quality
水質予測モジュール
fouling予測モジュール
パラメータを変える度に変わる

## Slide 10: 最適化プロトコル案
下記を構成し始めている。
1. 背景整理
main
アルゴリズム部
問題定義部
目的関数、制約条件、最適化変数定義など
（ここで外部のモデルも呼び出す）
最適化を解く部分

## Slide 11: 制約対処法の分類
のトレードオフ領域の探索は多目的最適化ベースが有利。
Feasibility Rule、
Death Penalty、
Two-Phase Framework
Adaptive Penalty
Adaptive MOEA/D
CM
MCR
補足：アルゴリズム
ペナルティベース
分離ベース
多目的最適化ベース
問題分割
パレートランキング
ランキング
切替
方法
で評価
とを分離して評価
の二目的最適化
例
トレードオフ領域の探索効率
低
中
高

## Slide 12: 最適化方法
補足：アルゴリズム
多目的アプローチ以外に、制約違反量削減優先も採用した。
  仮説：可能領域への収束の観点では、違反量削減で優秀な近傍生成を使うほうが有利
よりもを優先して、解を選択する方法
基本的に可能領域への選択圧が強い
Feasibility Rule
項目 | Adaptive MOEA/D | 適応型PSO／適応型DE
解の評価・選択 | 多目的最適化（問題分割） | Feasibility Rule
近傍生成 | 実数値GA | Activity Feedback PSO／JADE／SHADE
違反解同士の比較
可能解と違反解の比較
可能解同士の比較
⇒ で比較・選択
⇒ 可能解を選択
⇒ で比較・選択
MOEA/D
個体に異なる重みを与えて、部分問題に分割する方法
のパレートフロンティアへの選択圧が強い
探索点
探索点

## Slide 13: 先行研究
DEの突然変異前に、実数部とバイナリ部に分離させ、バイナリ部は論理和・論理積の演算で実施する[3,4]。
補足：バイナリ変数の対処法
[3] D. Jia et al.: “An Efficient Binary Differential Evolution with Parameter Adaptation” (2013)
[4] A.P. Engelbrecht et al.: “Binary Differential Evolution Strategies” IEEE CEC (2007)
Mutation: DE/rand/1[3]
バイナリ部の個体：
実数部の個体：
混合変数の個体：
混合変数の個体：
 | 0 | 0 | 1 | 1
 | 0 | 1 | 0 | 1
 | 0 | 1 | 1 | 0
 | 0 | 0 | 0 | 1
 | 0 | 0 | 1 | 1
 | 0 | 1 | 0 | 1
 | 0 | 1 | 1 | 0
 | 0 | 0 | 0 | 1
真理値表
差分ベクトルを、xorで差分が出たときに1となるように表現
()

## Slide 14: [LVMWD] RO System Configuration and Measurement Points
P
・Feed Free Chlorine
・Feed Conductivity
・Feed pH, TOC, Temp
・Feed Pressure
・Feed Flow (Calc)
・Permeate Flow
・Permeate Conductivity
・Permeate Flow
・Permeate Conductivity
・Permeate Flow
・Permeate Conductivity
・Combined Permeate TOC
・Combined Permeate Conductivity
・Concentrate Pressure
・Concentrate Flow
・Inlet Free Chlorine
・Inlet Total Chlorine
・Inlet pH
・Inlet UVT
・Inlet Flow
UV
・Outlet Free Chlorine
・Outlet Total Chlorine
・Inlet UVT
・UV Dose
・UV Intensity
・UV Lamp Power (Constant 50%)
RO 1st Stage
RO 2nd Stage
RO 3rd Stage
Feed Pressure
Concentrate Pressure
Feed Pressure
P
This pump decides the feed flow to RO.
a
b
c
d
e
<Differential Pressure>
Stage 1 = －
Stage 2 = －
Stage 3 = －
a
b
b
c
d
e

## Slide 15: [OCWD] RO Feed and Permeate System Configuration
…
RO Unit System
P
Cartridge Filters
P
MF Break Tank
RO Transfer Pump Station
RO Feed Pump
Sulfuric Acid
Anti-Scalant Addition
TOC, Ammonia, pH, Turbidity, Conductivity,
Total Chlorine, Free Chlorine
XACT920 (Si, P, S, K, Ca, Fe, Sr, TDS)
ROP
Concentrate
Conductivity, TOC
XACT920 (Si, P, S, K, Ca, Fe, Sr, TDS)
RO Feed

## Slide 16: [OCWD] RO Unit B01 System Configuration
16
P
RO Feed
RO Feed Pump
P
Booster Pump
FW Press
FW B1 DP
CONC B1 Press
FW B2 Press
FW B2 DP
FW B3 DP
FW B23 DP
FW B3 Press
CONC Press
Membrane Press
Perm Press
Perm Flow,
Perm Cond
Conc Cond, Conc Flow
Blank 2 Perm Flow,
Blank 2 Perm Cond
Blank 3 Perm Flow,
Blank 3 Perm Cond
Blank 1 Perm Flow,
Blank 1 Perm Cond
Blank 2-3 Perm Flow
1st
2nd
3rd
Flow
Pressure
Conductivity
Differential Pressure
ROP
Concentrate

## Slide 17: [LVMWD] Monitoring and Manipulation Range
Type | Location | Tag ID | Tag Name | Unit | Lower Limit | Upper Limit
Monitoring | RO Permeate | AIT_41092 | RO Stage1 Permeate Conductivity |  | 0 | 50
Monitoring | RO Permeate | AIT_41292 | RO Stage2 Permeate Conductivity |  | 0 | 50
Monitoring | RO Permeate | AIT_41392 | RO Stage3 Permeate Conductivity |  | 0 | 60
Monitoring | RO Permeate | - | LRV of RO Each Stage Conductivity | - | 1 | 2.5
Monitoring | RO Permeate | AIT_41810 | RO_Permeate TOC |  | 0 | 0.15
Monitoring | RO Permeate | - | LRV of RO Permeate TOC | - | 1 | 2.5
Manipulation | RO Feed | AI_31094 | UF Filtrate Total Chlorine |  | 1 | 2
Type | Location | Tag ID | Tag Name | Unit | Lower Limit | Upper Limit
Monitoring | RO Permeate | AIT_41092 | RO Stage1 Permeate Conductivity |  | 0 | 50
Monitoring | RO Permeate | AIT_41292 | RO Stage2 Permeate Conductivity |  | 0 | 50
Monitoring | RO Permeate | AIT_41392 | RO Stage3 Permeate Conductivity |  | 0 | 60
Monitoring | RO Permeate | - | LRV of RO Each Stage Conductivity | - | 1 | 2.5
Monitoring | RO Permeate | AIT_41810 | RO_Permeate TOC |  | 0 | 0.15
Monitoring | RO Permeate | - | LRV of RO Permeate TOC | - | 1 | 2.5
Manipulation | RO Feed | AI_31094 | UF Filtrate Total Chlorine |  | 1 | 2
* There are removal ratio data trend charts in the appendix.
回答を得た。

## Slide 18: [OCWD] Monitoring and Manipulation Range
回答なし（まだ問い合わせていない？）
Type | Location | Tag Name | Unit | Lower Limit | Upper Limit
Monitoring | RO Unit B01 | RO_B01 Blank 1 Permeate Conductivity |  | 0 | 25
Monitoring | RO Unit B01 | RO_B01 Blank 2 Permeate Conductivity |  | 0 | 40
Monitoring | RO Unit B01 | RO_B01 Blank 3 Permeate Conductivity |  | 0 | 120
Monitoring | RO Unit B01 | LRV of RO Each Stage Conductivity | - | 1.5 | 3
Monitoring | RO Permeate | RO_Permeate TOC |  | 0 | 0.15
Monitoring | RO Permeate | LRV of RO Permeate TOC | - | 2 | 2.5
Manipulation | RO Feed | Sulfric Acid Usage |  | 0 | 12
Manipulation | RO Feed | Threshold Inhibitor Usage |  | 0 | 1.5
Type | Location | Tag Name | Unit | Lower Limit | Upper Limit
Monitoring | RO Unit B01 | RO_B01 Blank 1 Permeate Conductivity |  | 0 | 25
Monitoring | RO Unit B01 | RO_B01 Blank 2 Permeate Conductivity |  | 0 | 40
Monitoring | RO Unit B01 | RO_B01 Blank 3 Permeate Conductivity |  | 0 | 120
Monitoring | RO Unit B01 | LRV of RO Each Stage Conductivity | - | 1.5 | 3
Monitoring | RO Permeate | RO_Permeate TOC |  | 0 | 0.15
Monitoring | RO Permeate | LRV of RO Permeate TOC | - | 2 | 2.5
Manipulation | RO Feed | Sulfric Acid Usage |  | 0 | 12
Manipulation | RO Feed | Threshold Inhibitor Usage |  | 0 | 1.5
* There are removal ratio data trend charts in the appendix.